Available Rotors for SIP’s Ultracentrifuges

- Note that the rotors for the L8-70M centrifuges CANNOT go into the Optima XE-90 centrifuge

- All older rotors have had their speed derated for safety and the maximum speed is written on the rotors

Floor Ultracentrifuges

- Two SW 41 Ti

  - One for the L8-70M centrifuges, one for the Optima XE-90 centrifuge

- One SW 32 Ti

- Two SW 55 Ti

  - One for the L8-70M centrifuges, one for the Optima XE-90 centrifuge

- Two Type 45 Ti

  - One for the L8-70M centrifuges, one for the Optima XE-90 centrifuge

- One Type 55.2 Ti

- Three Type 70 Ti

  - Two for the L8-70M centrifuges, one for the Optima XE-90 centrifuge

- One SW 28

- Two Type 50.2 Ti

  - One for the L8-70M centrifuges, one for the Optima XE-90 centrifuge

Table Top Ultracentrifuges

- Two TLA 100.3

- One TLA 120.2

- One TLS 55