Available Rotors for SIP’s Ultracentrifuges

* Note that the rotors for the L8-70M centrifuges **CANNOT** go into the Optima XE-90 centrifuge
* All older rotors have had their speed derated for safety and the maximum speed is written on the rotors

Floor Ultracentrifuges

* Two SW 41 Ti
  + One for the L8-70M centrifuges, one for the Optima XE-90 centrifuge
* One SW 32 Ti
* Two SW 55 Ti
  + One for the L8-70M centrifuges, one for the Optima XE-90 centrifuge
* Two Type 45 Ti
  + One for the L8-70M centrifuges, one for the Optima XE-90 centrifuge
* One Type 55.2 Ti
* Three Type 70 Ti
  + Two for the L8-70M centrifuges, one for the Optima XE-90 centrifuge
* One SW 28
* Two Type 50.2 Ti
  + One for the L8-70M centrifuges, one for the Optima XE-90 centrifuge

Table Top Ultracentrifuges

* Two TLA 100.3
* One TLA 120.2
* One TLS 55