Available Rotors for SIP’s High Speed Centrifuges

* Note that the rotors for the other centrifuges **CANNOT** go into the Avanti JXN 26 centrifuges
* All older rotors have had their speed derated for safety and the maximum speed is written on the rotors

Beckman  Avanti JXN 26 Super Speed Centrifuges

* Two JLA 12.500
* One JA-10
* Two JLA-16.25
* Two JA-25.50
* One JA-30.50 Ti

Sorvall RC-5C Plus Centrifuges

* Two SS-34
* One SLA-3000
* One GS-3
* One GSA
* Two SA-600

 Beckman J2-21 Centrifuge

* One JS-13.1
* One F10BA-6x500y
* One F14BA-6x250y
* One JA-20

Beckman Avanti J-20XP

* One JLA-8.1
* One JA-20